[bookmark: _GoBack]Table 1. Validation and statistical analysis of the quantification method.
	Validation parameters
/Apparatus
	Range/Level
	Results*

	Linearity (n = 3)
	1 à 30
µg/mL

	Slope
	127260 (493)

	
	
	Intercept
	6304 (3688)

	
	
	Correlation coefficient (r)
	1.0000 (5.0 e-05)

	
	
	Significance of regression
	Fcalc = 131620
Ftab = 7.71
p < 0.0001

	Limit of Detection
	
	0.29 µg/mL

	Limit of Quantification
	
	0.09 µg/mL

	Precision / Accuracy
	USP apparatus 5
	10%
50%
100%
125%
	100.31% 
99.70 % 
99.34% 
99.38% 
	(0.33) 
(0.30) 
(0.29) 
(0.19)
	99.68% (0.47)

	
	USP apparatus 6
	10%
50%
100%
125%
	100.33% 
100.12% 
99.63% 
99.57% 
	(0.57) 
(0.50) 
(0.25) 
(0.34)
	99.91% (0.50)


* results are presented as mean and relative standard deviation values are presented in parentheses; Fcalc  - calculated F value; Ftab - tabulated F value; USP 5 - paddle over disk; USP 6 - rotating cylinder.











