Table 1. Validation and statistical analysis of the quantification method.

| Validation parameters /Apparatus |  | Range/Level | Results* |  |  |
| --- | --- | --- | --- | --- | --- |
| Linearity (n = 3) |  | 1 à 30 µg/mL | Slope |  | 127260 (493) |
|  |  |  | Intercept |  | 6304 (3688) |
|  |  |  | Correlation coefficient (r) |  | 1.0000 (5.0 e-05) |
|  |  |  | Significance of regression |  | Fcalc = 131620 Ftab = 7.71 p < 0.0001 |
| Limit of Detection |  |  | 0.29 µg/mL |  |  |
| Limit of Quantification |  |  | 0.09 µg/mL |  |  |
| Precision / Accuracy | USP apparatus 5 | 10% 50% 100% 125% | 100.31% 99.70 % 99.34% 99.38% | (0.33) (0.30) (0.29) (0.19) | 99.68% (0.47) |
|  | USP apparatus 6 | 10% 50% 100% 125% | 100.33% 100.12% 99.63% 99.57% | (0.57) (0.50) (0.25) (0.34) | 99.91% (0.50) |

* results are presented as mean and relative standard deviation values are presented in parentheses; Fcalc  - calculated F value; Ftab - tabulated F value; USP 5 - paddle over disk; USP 6 - rotating cylinder.